**Fabric Sensory Print Guide**

**Materials**

* Black Pressure Sensing Fabric – 20mm x 20mm

Pressure-sensing Fabric

* Silver Conductive Fabric (x2) – 18mm x 18mm (with tabs 4mm wide and 20mm long)

Silver Conductive Fabric

Silver Conductive Fabric

* Contact – 25mm x 25mm

Contact

*Note:* Make sure you print this at 100% scale to ensure the fabric pieces are cut to the correct size.